## Sheet1
Qcraftbrew Sizing Sheet
Type of System | Brewhouse "Hot"
Cellar "Cold"
Type of Control | Semi-Automatic Control | Fully Automatic Control
| PLC Based Control | Add Level & Flow Sensors
| 10.5" HMI mounted on Enclosure | Add Process Valves
| Monitor Temperature via RTDs | Add CIP functionality
| PLC controlled Pumps | Qcloudserver Interface to phone
PLC controlled Gearmotors
PLC control outputs to jackets
PLC control Tank Lights
Secure Remote Access
CAD Panel, Wiring, & Field Wiring
UL508a Stainless Steel Enclosure
Project Name
Company Name
Street Address
City, St. Zip
Contact Name
Phone Number
email address
Incoming Power | 120/208V or 230V
Distance from Incoming Power to | Please measure like you are
the Control Panel - in Feet | installing wire & conduit
What is the square footage (LxW) | Please take a picture on your
of the total Brewhouse or Cellar | phone and send with this form
Do you have a local Electrician that
you have used before and like?
IF yes, then we need their
name, phone, & email
Brewhouse Logo | Please provide high resolution
Logo for HMI screens
Tanks (we provide pt100 RTDs ) | Tank #1 | Tank #2
Type of Tank
Volume & Height of Tank
Provide a "Tank Tag Name" for each
Steam or Glycol
Number of Jackets per tank
Tanks (we provide pt100 RTDs ) | Tank #3 | Tank #4
Type of Tank
Volume & Height of Tank
Provide a "Tank Tag Name" for each
Steam or Glycol
Number of Jackets per tank
Tanks (we provide pt100 RTDs ) | Tank #5 | Tank #6
Type of Tank
Volume & Height of Tank
Provide a "Tank Tag Name" for each
Steam or Glycol
Number of Jackets per tank
Heat Exchanger | Manufacturer | Model Number
Glycol Chiller | Manufacturer | Model Number
Pumps | Pump #1 | Pump #2
Pump Tag Names
Pump Motor Horsepower
Pump Motor Voltage
Pump Motor Full Load Amps
Pump Motor RPM
Pumps | Pump #3 | Pump #4
Pump Tag Names
Pump Motor Horsepower
Pump Motor Voltage
Pump Motor Full Load Amps
Pump Motor RPM
Gearmotors | Gearmotor #1 | Gearmotor #2
Gear Motor Tag Names
Gear Motor Horsepower
Gear Motor Voltage
Gear Motor Full Load Amps
Gear Motor RPM
Gearmotors | Gearmotor #3 | Gearmotor #4
Gear Motor Tag Names
Gear Motor Horsepower
Gear Motor Voltage
Gear Motor Full Load Amps
Gear Motor RPM
Tank Lights | Voltage & Amperage | Halogen or LED
Options
Level Transmitter - up to 40' | SL2-010-L40 | SLT-JB2 (Junction Box)
InLine Flow Meter / Totalizer | Tubing diameter? | Engineering Units?
Process Air Valves | How many?
That go between the tanks
Electrically Controlled Valves | How many? | Belimo Steam Valves?
For the Jackets On/Off
CIP (Clean in Place) | Valves Required for this option
Seal Tite Flexible Conduit 1.5" | How many feet required?
Enclosure Fans | For blowing Hot Air out of Enclosure | Yes or No
HMI Pedestal | What height?
Advanced HMI Display | Full P&ID GUI screens | Yes or No
Detailed Maintenance Screens
CAD images on GUI
Video Capbilities