## Sheet1
Company Name |  |  |  | Date
Comppany Logo .JPG, PNG, or TIF File (please send with this document) |  |  |  | Revision Number
Project Name
Project Manager |  |  |  | Loss of Communication | Optional SD Card | Circular File
Project Manager Cell Phone Number
Project Manager Email |  |  |  | Loss of Power | Optional Battery | QUPS
[5 empty] | Option QSolarBattery | QSB
Number of Sites
Site Number or Site Name |  |  |  | Communication | LAN, Wifi, or Cell | Choose
Site Manager
Site Manager Cell Phone Number
Site Manager Email
[7 empty] | Accuracy | [6 empty] | Alarm
IO Type | Current | Tag Name | Description | Sensor Mfr & Part Number | Scale Range | Eng Units | Decimal | Lo Alarm | Hi Alarm | Data Log | Duration | Interval | Trend | Email | Alarm Message
| Voltage |  |  | Actuator Mfr & Part Number |  |  | Points | [6 empty] | SMS Text
DI 1 | 24Vdc - Sinking | Pushbutton 1 | Start | Eaton - 2A1538G4 | Off On | X | X | X | X | Y/N | Every Time |  | Y/N | Y/N
DI 2 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 3 |  |  |  |  | Normal - Tripped | X | X | X | X | Y/N |  |  | Y/N
DI 4 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 5 |  |  |  |  | Closed - Open | X | X | X | X | Y/N |  |  | Y/N
DI 6 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 7 |  |  |  |  | Normal - Fail | X | X | X | X | Y/N |  |  | Y/N
DI 8 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 9 | 24Vdc Sourcing |  |  |  | Normal - Ph Reverse | X | X | X | X | Y/N |  |  | Y/N
DI 10 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 11 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 12 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 13 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 14 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 15 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DI 16 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DO 1 | 24Vdc Sourcing | Motor Starter 1 | Pump Motor | Marathon - 4G86V480 | Off On | X | X | X | X | Y/N | Every Time | On Start | Y/N | Y/N
DO 2 | DC Transister |  |  |  |  | X | X | X | X | Y/N |  |  | Y/N
DO 3 | AC Triac |  |  |  | Off Running | X | X | X | X | Y/N |  |  | Y/N
DO 4 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DO 5 | 110VAC |  |  |  |  | X | X | X | X | Y/N |  |  | Y/N
DO 6 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DO 7 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
DO 8 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
RO 1 | 24Vdc - 3A/pt |  |  |  | On Off | X | X | X | X | Y/N | Every Time | When Open | N | Y
RO 2 | 24Vdc - 1A/pt |  |  |  |  | X | X | X | X | Y/N |  |  | Y/N
RO 3 | 24Vdc - 5A/pt |  |  |  |  | X | X | X | X | Y/N |  |  | Y/N
RO 4 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
RO 5 | 110VAC - 3A/pt |  |  |  |  | X | X | X | X | Y/N |  |  | Y/N
RO 6 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
RO 7 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
RO 8 | [5 empty] | X | X | X | X | Y/N |  |  | Y/N
AI 1 | 4-20mA | Tank 1 Pressure | Tank Pressure 1 | Pressure Transducer | 15-40 | psi | 1 | 20 | 35 | Y | Continuous | 1 min | Y/N | Y | Tank 1 Pres Low
AI 2 | 4-20mA | Tank 1 Level | Tank Level 1 | Level Transducer | 0-35 | feet | 1 | [5 empty] | Y/N
AI 3 | 1-5V | [11 empty] | Y/N
AI 4 | [12 empty] | Y/N
T/C1 | J-Type | Tank 1 Temp | Tank Temp 1 | Thermocouple XXX | 60-250 | deg F | 2 | 75 | 200 | Y | Continuous | 15 min | Y | Y | Tank 1 Temp High
T/C2 | K-Type
T/C3
T/C4
RTD1 | pt100
RTD2
RTD3
RTD4
Notes | This is an excel spreadsheet, so Add or Subtract as required for your application. Then save as a .PDF and send to Quantum Automation with your PO# or Credit Card information and we will setup your site on the QCloudServer